Black Hawk County Public Health

1407 Independence Avenue, Floor 5

Waterloo, IA 50703

REQUEST FOR PROPOSAL

MOBILE HEALTH CLINIC

Released: January 5, 2024

Due: January 19, 2024, 12:00 PM

List of Appendices:

Appendix A: 	Mobile Health Clinic Specifications

Appendix B:	General Terms and Conditions

Appendix C:	Minimum Insurance Requirements

Appendix D:	Form of Proposal

Appendix E:	Vendor Exceptions

Appendix F:	Addendum Receipt Form

Appendix G:	Certification Regarding Lobbying

Appendix H:	Small and minority businesses, women's business enterprises, and labor surplus area firms

REQUEST FOR PROPOSAL (RFP)

Mobile Health Clinic

BLACK HAWK COUNTY PUBLIC HEALTH

BLACK HAWK COUNTY, IA

Black Hawk County Public Health (“Department”; BHCPH) is seeking proposals from qualified vendors (“vendors”; “proposing vendors”; “prospective vendors”; “bidders”) to design and build a mobile health clinic that will expand access to needed public health services. Vendor shall be responsible for all costs incurred in responding to this RFP.

Any published notice is an abbreviation of the RFP specifications, which are on file at the Black Hawk County Board of Health Administrative Office located at 1407 Independence Avenue, Floor 5, Waterloo, Iowa, 50703.

This project qualifies for American Rescue Plan funds and thus, any contract awarded under this request for proposal will be funded in part or in whole with American Rescue Plan Funds. As such, all contracts for services, construction, and materials paid for with these funds must conform to all applicable regulations, including but not limited to, the requirements set forth by the Department of the Treasury. Furthermore, vendors must be eligible for federal contracts and must not be presently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from federal contracts or receiving federal funds. ANY VENDOR SUBMITTING A PROPOSAL MUST SUBMIT A CURRENT UNIQUE ENTITY ID NUMBER (UEI) SO THAT THE DEPARTMENT CAN CHECK THE ENTITY’S ELIGIBILITY FOR FEDERAL PROJECTS ON SAM.GOV.

This entire document, including all attachments, shall be considered as binding and as part of the contract, and all work and materials shall meet or exceed the specifications set forth in this Request for Proposal. If contract language contradicts this document, the language of this Request for Proposal will control, regardless of any statement to the contrary in the contract or elsewhere.

BACKGROUND

Black Hawk County Public Health (BHCPH) provides health-related services to residents in Black Hawk and surrounding counties. Utilization of a mobile health clinic will help BHCPH provide efficient and accessible services to residents.

SCOPE

The fully-functional mobile health clinic will be an extension of BHCPH and shall include, at minimum, a restroom, handwashing station, vaccine-compliant refrigerator, vaccine-compliant freezer, and one exam room.  See Attachment A: Mobile Health Clinic Specifications for greater detail. The proposal shall also include vehicle and equipment training, including written instructions or manuals, as applicable and available.

Functions of the mobile clinic may include, but are not limited to:

- HIV testing and case management

- STI testing and treatment

- Tuberculosis screening

- Immunization clinics, including school- or community center-based clinics

- Collaboration with partners to help those experiencing homelessness

- Collaboration with partners for well-child exams

- Child and adolescent oral health services

- Outreach efforts related to disasters or public health emergencies

SCHEDULE*

| Milestone | Date | Time (all times CST) | Location/Comments |
| --- | --- | --- | --- |
| RFP Release/Notice to Prospective Vendors | Friday, 1/5/24 |  | Black Hawk County Website: https://www.blackhawkcounty.iowa.gov/Bids.aspx Waterloo-Cedar Falls Courier |
| Prospective vendor questions due | Thursday, 1/11/24 | 4:30 p.m. | E-mail to Matthew Verbraken at mverbraken@blackhawkcounty.iowa.gov |
| Department response to questions; Addendum issuance (if applicable) | Monday, 1/15/24 | 12:00 p.m. | E-mail to all vendors who received an RFP packet. |
| Proposals Due | Friday, 1/19/24 | 12:00 p.m. | Black Hawk County Public Health Administrative Office, 1407 Independence Avenue, Floor 5, Waterloo, IA 50703 |
| Proposal Opening and Review | Friday, 1/19/24 | 1:00 p.m. | Proposals shall be opened by at least two (2) members or designees of Black Hawk County Board of Health, Administrative Office, 1407 Independence Avenue, Floor 5 Waterloo, IA 50703. After this step is complete, vendors will be checked for eligibility on SAM.gov with the UEI numbers they provide. |
| Proposal review and scoring | Tuesday, 1/23/24 | 1:00 p.m. | Panel review and scoring |
| Public Hearing and Board of Health Meeting for approval/award of contract | Wednesday, 1/31/24 | Meeting begins at 7:30 a.m. | Before the BHC Board of Health, 1407 Independence Avenue, Room 420, Waterloo, IA 50703. |
| Begin Work | Upon signing the contract and receiving Notice to Proceed from the Department |  | BHCHD attorney will review the contract and negotiate with the vendor/vendor’s legal representative (if needed). |
| Monthly Check-ins | TBD | TBD | Vendor will schedule and provide brief monthly project updates to BHCPH. |
| Completion Date | Friday, 11/1/24 | 12:00 p.m. | Final acceptance will be contingent upon final inspection by Black Hawk County and vendor’s successful completion of noted items to be addressed (if applicable). |

*Dates and times subject to change at Black Hawk County’s discretion.

PROPOSAL SUBMISSION

All proposals shall be hand-delivered or mailed to:

Black Hawk County Public Health

Attn: Mobile Health Clinic

1407 Independence Avenue, Floor 5

Waterloo, IA 50703

No verbal, faxed, or e-mailed proposals will be accepted under any circumstances.

Each price quoted in the proposal is to be clearly marked on the “Form of Proposal” included in the RFP document. Proposals shall be submitted in a sealed envelope clearly marked as follows: “PROPOSAL: MOBILE HEALTH CLINIC”.

Proposal security shall accompany the proposal in a separate sealed envelope and shall be clearly marked “PROPOSAL SECURITY: MOBILE HEALTH CLINIC”.

The name of the business submitting the proposal and proposal security shall also be clearly marked on both envelopes.

It shall be the sole responsibility of the proposing vendor to ensure that the proposal is received by Black Hawk County at the above location and time.

Each proposing vendor shall be required to complete the Bidder Status Form and include the completed form with the Form of Proposal when submitting proposals.  This form can be located at https://www.iowadivisionoflabor.gov/sites/default/files/2021-11/BP.status.form__1.pdf

The selected proposers must NOT be debarred from any federal and/or state agency, and Black Hawk County will conduct a review of the Proposer’s status on SAM.gov. Each proposal submitted must include a current Unique Entity ID (UEI) number so that the vendor's eligibility for federal projects can be verified on SAM.gov. The Black Hawk County Board of Health will make the final selection and award. The County has the right to reject any and/or all responses.

Black Hawk County Public Health understands there may be supply chain constraints causing shipping and/or delivery delays.

Prospective vendors are invited to submit written questions and requests for clarification concerning this RFP to the following contact no later than 4:30 p.m. (CST) on January 11, 2024:

Matthew Verbraken, Finance Manager; Email: mverbraken@blackhawkcounty.iowa.gov

Written responses to timely questions will be issued no later than January 15, 2024, in the form of a written addendum, if applicable, to each prospective vendor issued the RFP.

INSTRUCTIONS TO PROPOSING VENDORS AND GENERAL TERMS AND CONDITIONS

Proposing vendors are required to provide detailed equipment lists with manufacturer, model, quantity, and unit/extended prices for each item proposed to meet the stated performance and functional requirements.

The project has a completion date of November 1, 2024, and includes the delivery of a new, fully functional mobile health clinic.  Features and options may be prioritized or eliminated based on need, options selected, and total project cost.  If, due to supply chain problems or other unforeseen circumstances, the project cannot be completed by November 1, 2024, written notice must be provided to Matthew Verbraken, at mverbraken@blackhawkcounty.iowa.gov. A new completion date will then be negotiated between the vendor and BHCPH.

Each vendor shall accompany the proposal with SECURITY by a bid bond, cash deposit, cashier’s check or a certified check on a solvent bank chartered under the laws of the United States and in accordance with the requirements of Section 331.341 of the Iowa Code as amended, in the amount of not less than 5% of the total project and it shall accompany the proposal in a separate envelope marked “PROPOSAL SECURITY: MOBILE HEALTH CLINIC”. Security shall be made payable to Black Hawk County Public Health. Both envelopes shall have the name of the business clearly marked on them. Security shall be returned to vendors who were not awarded the contract, upon signing of the contract. In the event a vendor is awarded the contract, and that vendor fails to enter into the contract, the vendor’s security shall be forfeited to Black hawk County. Security shall be returned to the awarded vendor upon execution of the contract and receipt of Performance and Payment bonds.

Upon signing the contract, a PERFORMANCE BOND and PAYMENT BOND in the amount equal to the signed contract shall be required and submitted before work commences. The Performance Bond shall be in effect until the end of the contract and the contract has been satisfied and accepted by the Director and the Black Hawk County Board of Health.

Vendor shall schedule and provide a brief monthly project update to BHCPC, contacting Matthew Verbraken to schedule the meeting.

This project will include utilization of the BHCPC logo and color schemes, externally on the vehicle, where applicable, for external identification of the Department. The vendor will be responsible for the wrap/application, but may subcontract the work if needed.  BHCPC requires final approval of all designs and colors utilized for the mobile health clinic.

All other terms and conditions pursuant to Attachment B apply.

This purchase will utilize American Rescue Plan Act (ARPA) funding, and, as such, the following are required and must be adhered to as applicable and outlined in the referenced code.

Equal Employment Opportunity

During the performance of this contract, the vendor agrees as follows:

- The vendor will not discriminate against any employee or applicant for employment because of race, color, religion, sex, sexual orientation, gender identity, or national origin. The vendor will take affirmative action to ensure that applicants are employed, and that employees are treated during employment without regard to their race, color, religion, sex, sexual orientation, gender identity, or national origin. Such action shall include, but not be limited to the following:

Employment, upgrading, demotion, or transfer; recruitment or recruitment advertising; layoff or termination; rates of pay or other forms of compensation; and selection for training, including apprenticeship. The vendor agrees to post in conspicuous places, available to employees and applicants for employment, notices to be provided setting forth the provisions of this nondiscrimination clause.

2.) 	The vendor will, in all solicitations or advertisements for employees placed by or on behalf of the vendor, state that all qualified applicants will receive consideration for employment without regard to race, color, religion, sex, sexual orientation, gender identity, or national origin.

3.) 	The vendor will not discharge or in any other manner discriminate against any employee or applicant for employment because such employee or applicant has inquired about, discussed, or disclosed the compensation of the employee or applicant or another employee or applicant. This provision shall not apply to instances in which an employee who has access to the compensation information of other employees or applicants as a part of such employee's essential job functions discloses the compensation of such other employees or applicants to individuals who do not otherwise have access to such information, unless such disclosure is in response to a formal complaint or charge, in furtherance of an investigation, proceeding, hearing, or action, including an investigation conducted by the employer, or is consistent with the vendor's legal duty to furnish information.

4.) 	The vendor will send to each labor union or representative of workers with which he has a collective bargaining agreement or other contract or understanding, a notice to be provided advising the said labor union or workers' representatives of the contractor's commitments under this section and shall post copies of the notice in conspicuous places available to employees and applicants for employment.

5.) 	The vendor will comply with all provisions of Executive Order 11246 of September 24, 1965, and of the rules, regulations, and relevant orders of the Secretary of Labor.

6.) 	The vendor will furnish all information and reports required by Executive Order 11246 of September 24, 1965, and by rules, regulations, and orders of the Secretary of Labor, or pursuant thereto, and will permit access to his books, records, and accounts by the administering agency and the Secretary of Labor for purposes of investigation to ascertain compliance with such rules, regulations, and orders.

7.) 	In the event of the vendor's noncompliance with the nondiscrimination clauses of this contract or with any of the said rules, regulations, or orders, this contract may be canceled, terminated, or suspended in whole or in part and the vendor may be declared ineligible for further Government contracts or federally assisted construction contracts in accordance with procedures authorized in Executive Order 11246 of September 24, 1965, and such other sanctions may be imposed and remedies invoked as provided in Executive Order 11246 of September 24, 1965, or by rule, regulation, or order of the Secretary of Labor, or as otherwise provided by law.

8.) 	The vendor will include the portion of the sentence immediately preceding paragraph (1) and the provisions of paragraphs (1) through (8) in every subcontract or purchase order unless exempted by rules, regulations, or orders of the Secretary of Labor issued pursuant to section 204 of Executive Order 11246 of September 24, 1965, so that such provisions will be binding upon each subcontractor or vendor. The vendor will take such action with respect to any subcontract or purchase order as the administering agency may direct as a means of enforcing such provisions, including sanctions for noncompliance.

Provided, however, that in the event a vendor becomes involved in, or is threatened with, litigation with a subcontractor or vendor as a result of such direction by the administering agency, the vendor may request the United States to enter into such litigation to protect the interests of the United States.

The vendor further agrees that it will be bound by the above equal opportunity clause with respect to its own employment practices when it participates in federally assisted construction work: Provided, that if the vendor so participating is a State or local government, the above equal opportunity clause is not applicable to any agency, instrumentality or subdivision of such government which does not participate in work on or under the contract.

The vendor agrees that it will assist and cooperate actively with the administering agency and the Secretary of Labor in obtaining the compliance of contractors and subcontractors with the equal opportunity clause and the rules, regulations, and relevant orders of the Secretary of Labor, that it will furnish the administering agency and the Secretary of Labor such information as they may require for the supervision of such compliance, and that it will otherwise assist the administering agency in the discharge of the agency's primary responsibility for securing compliance.

The vendor further agrees that it will refrain from entering into any contract or contract modification subject to Executive Order 11246 of September 24, 1965, with a vendor/contractor debarred from, or who has not demonstrated eligibility for, Government contracts and federally assisted construction contracts pursuant to the Executive Order and will carry out such sanctions and penalties for violation of the equal opportunity clause as may be imposed upon vendors, contractors, and subcontractors by the administering agency or the Secretary of Labor pursuant to Part II, Subpart D of the Executive Order. In addition, the vendor agrees that if it fails or refuses to comply with these undertakings, the administering agency may take any or all of the following actions: Cancel, terminate, or suspend in whole or in part this grant (contract, loan, insurance, guarantee); refrain from extending any further assistance to the vendor under the program with respect to which the failure or refund occurred until satisfactory assurance of future compliance has been received from such vendor; and refer the case to the Department of Justice for appropriate legal proceedings.

Contract Work Hours and Safety Standards Act

The regulation at 29 C.F.R. § 5.5(b) provides contract clause language concerning compliance with the Contract Work Hours and Safety Standards Act.

Compliance with the Contract Work Hours and Safety Standards Act.

- Overtime requirements. No vendor, contractor, or subcontractor contracting for any part of the contract work which may require or involve the employment of laborers or mechanics shall require or permit any such laborer or mechanic in any workweek in which he or she is employed on such work to work in excess of forty hours in such workweek unless such laborer or mechanic receives compensation at a rate not less than one and one-half times the basic rate of pay for all hours worked in excess of forty hours in such workweek.

- Violation; liability for unpaid wages; liquidated damages. In the event of any violation of the clause set forth in paragraph (b)(1) of this section the vendor, contractor, and any subcontractor responsible therefore shall be liable for the unpaid wages. In addition, such vendor, contractor, and subcontractor shall be liable to the United States (in the case of work done under contract for the District of Columbia or a territory, to such District or to such territory), for liquidated damages. Such liquidated damages shall be computed with respect to each individual laborer or mechanic, including watchmen and guards, employed in violation of the clause set forth in paragraph (b)(1) of this section, in the sum of $27 for each calendar day on which such individual was required or permitted to work in excess of the standard workweek of forty hours without payment of the overtime wages required by the clause set forth in paragraph (b)(1) of this section.

- Withholding for unpaid wages and liquidated damages. The American Rescue Plan Act shall upon its own action or upon written request of an authorized representative of the Department of Labor withhold or cause to be withheld, from any moneys payable on account of work performed by the vendor, contractor, or subcontractor under any such contract or any other Federal contract with the same prime contractor, or any other federally-assisted contract subject to the Contract Work Hours and Safety Standards Act, which is held by the same prime vendor or contractor, such sums as may be determined to be necessary to satisfy any liabilities of such vendor, contractor, or subcontractor for unpaid wages and liquidated damages as provided in the clause set forth in paragraph (b)(2) of this section.

- Subcontracts. The vendor, contractor, or subcontractor shall insert in any subcontracts the clauses set forth in paragraph (b)(1) through (4) of this section and a clause requiring the subcontractors to include these clauses in any lower tier subcontracts. The prime contractor shall be responsible for compliance by any subcontractor or lower tier subcontractor with the clauses set forth in paragraphs (b)(1) through (4) of this section.

Clean Air Act and The Federal Water Pollution Control Act

Clean Air Act

1.) 	The vendor agrees to comply with all applicable standards, orders or regulations issued pursuant to the Clean Air Act, as amended, 42 U.S.C. § 7401 et seq.

2.) 	The vendor agrees to report each violation to Black Hawk County or Black Hawk County Public Health and understands and agrees that Black Hawk County Public Health will, in turn, report each violation as required to assure notification to the appropriate Environmental Protection Agency Regional Office.

3.) 	The vendor agrees to include these requirements in each subcontract exceeding $150,000 financed in whole or in part with Federal assistance provided by ARPA.

Federal Water Pollution Control Act

1.) 	The vendor agrees to comply with all applicable standards, orders, or regulations issued pursuant to the Federal Water Pollution Control Act, as amended, 33 U.S.C. 1251 et seq.

2.) 	The vendor agrees to report each violation to Black Hawk County or Black Hawk County Public Health Department and understands and agrees that Black Hawk County or Black Hawk County Public Health Department will, in turn, report each violation as required to assure notification to the appropriate Environmental Protection Agency Regional Office.

3.) 	The vendor agrees to include these requirements in each subcontract exceeding $150,000 financed in whole or in part with Federal assistance provided by ARPA.

Suspension and Debarment

1.)	This contract is a covered transaction for the purposes of 2 C.F.R. pt. 180 and 2 C.F.R. pt. 3000. As such, the vendor is required to verify that none of the vendor’s principals (defined at 2 C.F.R. § 180.995) or its affiliates (defined at 2 C.F.R. § 180.905) are excluded (defined at 2 C.F.R. § 180.940) or disqualified (defined at 2 C.F.R. § 180.935).

2.)	The vendor must comply with 2 C.F.R. pt. 180, subpart C and 2 C.F.R. pt. 3000, subpart C, and must include a requirement to comply with these regulations in any lower tier covered transaction it enters into.

3.) 	This certification is a material representation of fact relied upon by Black Hawk County or Black Hawk County Public Health Department. If it is later determined that the vendor did not comply with 2 C.F.R. pt. 180, subpart C and 2 C.F.R. pt. 3000, subpart C, in addition to remedies available to Black Hawk County or Black Hawk County Public Health Department, the Federal Government may pursue available remedies, including but not limited to suspension and/or debarment.

4.) 	The proposing vendor agrees to comply with the requirements of 2 C.F.R. pt. 180, subpart C and 2 C.F.R. pt. 3000, subpart C while this offer is valid and throughout the period of any contract that may arise from this offer. The proposing vendor further agrees to include a provision requiring such compliance in its lower tier covered transactions.

Byrd Anti-Lobbying Amendment

Vendors who apply or submit a proposal for a project award of $100,000 or more shall file the required certification. Each tier certifies to the tier above that it will not and has not used Federal appropriated funds to pay any person or organization for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, officer or employee of Congress, or an employee of a Member of Congress in connection with obtaining any Federal contract, grant, or any other award covered by 31 U.S.C. § 1352. Each tier shall also disclose any lobbying with non-Federal funds that takes place in connection with obtaining any Federal award. Such disclosures are forwarded from tier to tier up to the recipient who in turn will forward the certification(s) to the awarding agency. These documents are to be completed and included with the submitted Form of Proposal.

Procurement of Recovered Materials

- In the performance of this contract, the vendor shall make maximum use of products containing recovered materials that are EPA-designated items unless the product cannot be acquired—

  - Competitively within a timeframe providing for compliance with the contract performance schedule.

  - Meeting contract performance requirements; or

  - At a reasonable price.

- Information about this requirement, along with the list of EPA designated items, is available at EPA’s Comprehensive Procurement Guidelines web site, https://www.epa.gov/smm/comprehensiveprocurement-guideline-cpg-program

- The vendor also agrees to comply with all other applicable requirements of Section 6002 of the Solid Waste Disposal Act.”

Domestic Preferences for Procurement

As appropriate, and to the extent consistent with law, the vendor should, to the greatest extent practicable, provide a preference for the purchase, acquisition, or use of goods, products, or materials produced in the United States. This includes, but is not limited to iron, aluminum, steel, cement, and other manufactured products.

For purposes of this clause:

Produced in the United States means, for iron and steel products, that all manufacturing processes, from the initial melting stage through the application of coatings, occurred in the United States.

Manufactured products mean items and construction materials composed in whole or in part of non-ferrous metals such as aluminum; plastics and polymer-based products such as polyvinyl chloride pipe; aggregates such as concrete; glass, including optical fiber; and lumber.”

Contracting with small and minority businesses, women's business enterprises, and labor surplus area firms

If the awarded vendor (prime) uses subcontractors, it must take all necessary affirmative steps to assure that small and minority businesses, women’s enterprises, and labor surplus area firms are used. The following affirmative steps are required of the prime vendor/contractor:

1.) 	Placing qualified small and minority businesses and women's business enterprises on solicitation lists;

2.) 	Assuring that small and minority businesses, and women's business enterprises are solicited whenever they are potential sources;

3.) Dividing total requirements, when economically feasible, into smaller tasks or quantities to permit maximum participation by small and minority businesses, and women's business enterprises;

4.)	Establishing delivery schedules, where the requirement permits, which encourage participation by small and minority businesses, and women's business enterprises;

5.) 	Using the services and assistance, as appropriate, of such organizations as the Small Business Administration and the Minority Business Development Agency of the Department of Commerce; and

6.)	If prime vendor/contractor is subcontracting and subcontracts are to be let, the Prime vendor/contractor must take the affirmative steps listed in items (1) through (5) of this section.

If a vendor will be utilizing subcontractors, the vendor shall complete and submit with its proposal Appendix H, pertaining to small and minority businesses, women’s business enterprises, and labor surplus area firms.

All other terms and conditions pursuant to Attachment B apply.

GENERAL INFORMATION AND/OR REQUIREMENTS

1.) 	This agreement incorporates by reference the request for proposal as a part of this agreement.

2.)	The vendor should direct any questions, concerns or complaints to the Project Manager, Matthew Verbraken, or his designated representative at 319-291-2413, or mverbraken@blackhawkcounty.iowa.gov.

3.)	Vendor shall obtain any necessary licenses, permits, and inspections required for the work and shall comply with all Federal, State, and local laws, codes, and ordinances without additional cost to the Department. Where conflicts exist within or between parts of the Contract Documents and applicable standards, codes, and ordinances, or simply within the Contract Documents, the more stringent, or higher quality or greater quantity requirements shall apply.

4.) 	All payroll taxes, liability and workers’ compensation are the sole responsibility of the vendor. The vendor understands that an employee/employer relationship does not exist under this agreement.

5.) 	(If applicable) Vendor shall require subcontractor to carry and maintain the same workers compensation and liability insurance required of the vendor. Black Hawk County shall be supplied with a list of subcontractors, and reserves the right to pre-approve Subcontractors, in writing, prior to beginning any work.

6.)	Firms submitting proposals must be an “Equal Opportunity Employer” as defined in the                                     “Civil Rights Act of 1964” and in “Iowa Executive Order Number Thirty-Four.”

7.)	Proposing vendors shall examine all documents and shall inform themselves as to all the conditions which shall affect the Work prior to submitting a proposal. These include, but are not limited to, the vehicle specifications, any obstacles, and all conditions of the documents including inspection/project check-ins and control of the Work, environmental items and controls, completion time and schedule, subcontractor list, and any other relevant material that may affect the process or Work.

8.)	For any items, systems, alternatives or exceptions which become accepted by the Department and made part of the contract, the vendor shall provide a turnkey solution, including, but not limited to, installation, delivery, configuration, programming, testing, training, documentation, warranty, and correction period control.

9.)	The vendor shall provide brief monthly project updates and complete a joint walk-through/inspection of the mobile health clinic with BHCPH upon initial completion of the vehicle. At that time, a punch list of items to be completed will be compiled and provided to the vendor to address so as to ensure satisfactory completion of required work and functionality. Final acceptance will be contingent upon final inspection and approval by Black Hawk County.

10.)	The punch list shall be considered complete only after having been signed by Black Hawk County.

11.)	Final payment will be authorized only after all closeout procedures and requirements have been satisfied by the vendor and have written approval by Black Hawk County, including punch‐list(s) and/or re‐inspection(s) and conveyance of closeout deliverables.

12.)	Closeout Submittals: Upon approval of closeout submittals and prior to final acceptance, vendor shall provide electronic copies to the Department in format(s) noted below.

a.)	  Applicable Blueprint/Record Drawings – PDF.

b.)	  Operation and Maintenance Manuals – PDF.

c.)	  Documentation of testing and system certification.

13.)	All documentation prepared by the vendor, including hard copy and electronic forms, shall become the property of the Department.

14.)	Payment Authorization: Final payment will be authorized only after all closeout procedures and requirements have been followed and fulfilled by vendor and approved in writing by Black Hawk County, including punch list(s) and/or re‐ inspection(s) and delivery of closeout deliverables.

15.)	All vendors, contractors, or subcontractors working on this project shall not be identified as an excluded party in the System for Award Management (SAM) at https://sam.gov/content/exclusions.  Classification as an excluded party in SAM renders the vendor, contractor, or subcontractor ineligible to enter into a contract with Black Hawk County.

CONTRACT:

Contracts shall be awarded to the vendor who best meets the requirements as indicated by the proposal evaluation criteria as published in this RFP.

The work shall commence immediately on or after signing of the contract. The work shall be completed no later than November 1, 2024. If an extension needs to be granted due to unforeseen circumstances (e.g., supply chain delays), the vendor must submit a written request by October 1, 2024, to Project Manager, Matthew Verbraken, at mverbraken@blackhawkcounty.iowa.gov.  If the request is granted by the Department, new terms shall be negotiated and agreed upon by the Vendor and Department.

Upon award of the contract, it shall be the vendor’s responsibility to provide the Board with two (2) signed contracts. After approval from the County’s attorney, the Board shall sign both contracts and mail one completed original to the vendor.

INSURANCE REQUIREMENTS:

The company shall maintain adequate liability insurance in form(s) and amount(s) sufficient to protect Black Hawk County, its agencies, its employees, its clients and the general public against loss, damage and/or expense related to performance under this agreement.

The company shall comply with the requirements set forth in Attachment C, including but not limited to providing a Certificate of Insurance.

In the event the insurance coverage is canceled or modified in any way, Black Hawk County shall be notified immediately. If at any time during the contract period the company fails to maintain the minimum insurance coverage, the contract may be canceled at County’s option.

There shall be no cost to the County for any required insurance coverage or certification.

REFERENCES:

The proposing vendor shall include the names of three (3) or more references - projects of comparable size and complexity – to which the company currently or recently has provided service. Proposing vendor shall list names of firms, addresses, phone numbers and name of contact persons.

PROPOSAL CONTENT AND EVALUATION

Each submitted proposal shall include the following minimum information:

- Name, address, telephone numbers and email of the firm. Include firms Federal ID # and Unique Entity ID (Sam.gov) to confirm eligibility to receive federal funds.

- A description of the firm’s previous experience with mobile health clinic projects that involved, where applicable, design, permitting, construction plan preparation, bidding services and construction services.

- A list of, and information about, the key personnel (e.g., project manager, foreman, etc.) who will be performing the anticipated work, their qualifications and experience on projects of comparable size and complexity, a listing of similar types of projects and references for said projects. A project manager from the firm must be identified.

This list should include their area of responsibility, work experience, qualifications, and availability to perform the proposed work.

- A list of any proposed sub-consultants to be used, the work they will perform and their experience with said work.

- A statement of the objectives, goals, and tasks to show or demonstrate the responder's understanding of the nature of the project and the work required.

- A comprehensive description of the approach to the proposed work and a detailed schedule showing completion of the required Scope of Services by project completion date. Firms are encouraged to propose additional tasks or activities if they believe such tasks or activities will substantially improve the results of the project. These proposed additional tasks should be separated from the required material and cost proposal.

- The proposal meets the functional needs and requirements of BHCPH outlined in the RFP.

- The proposed mobile clinic design is professional and aesthetically appropriate for the needs of BHCPH.

- Detailed cost proposal to accomplish the proposed scope of services.  Cost proposal information submitted for this proposal shall include all costs, including but not limited to all labor, training, recurring costs, optional items, and necessary components (including those not specified, such as plumbing, electrical, or HVAC work that meets industry best practices/standards and federal, state, or local Code) for complete installation and full functionality of the spaces/systems.

- Fixed Fee or an hourly “not to exceed” fee for each element of the project and as a whole project. Fixed Fee or hourly “not to exceed” required for Federal.

- Fees for any potential additional services if deemed necessary.

PROPOSAL EVALUATION

Representatives of Black Hawk County will evaluate all responses received by the scheduled deadline. All responses will be evaluated on a 100 – point scale and will be evaluated on the following criteria:

| Responsiveness to specifications | 25% |
| --- | --- |
| Design | 10% |
| Qualifications and experience of key personnel | 10% |
| Clarity, completeness, and logic of the proposal | 25% |
| Opinions of References | 10% |
| Cost | 20% |

Black Hawk County staff shall determine which proposal is most responsive in meeting the proposal requirements. The County reserves the right to award a contract, if any, to the proposer who, in the sole opinion of the County, best meets the requirements set forth in this RFP and is in the best interest of the County. The County does not discriminate on any basis including, race, color, sex, age, creed, or national origin.

If, in the judgment of the County, proposals received are not responsive, responsible, timely, or are determined to exceed the funds available to conduct the established scope of work, the County reserves the right to accept or reject, in whole or in part, elements of all proposals.

Attachment A

MOBILE HEALTH CLINIC MINIMUM SPECIFICATIONS

BLACK HAWK COUNTY PUBLIC HEALTH MOBILE HEALTH CLINIC

BLACK HAWK COUNTY, IA

Proposals for the mobile health clinic shall include all labor, training, recurring costs, and necessary components for a complete build and full functionality of the spaces/systems/vehicle.

Complete System: Vendor shall include all equipment in their proposal that is required to provide a complete and functioning mobile health clinic. Any items missing from, or not included in the original proposal, that are not subject to a change of Statement of Work due to Department request, addition, addenda, and changes in construction or furniture, are the sole responsibility of the contractor, including all liability for expense required to furnish missing equipment, and will not result in a Change Order request to the Department.

These documents are not intended to provide a list of all materials needed for a complete build. It is the responsibility of the proposing vendor to ensure the submitted proposal includes all required components to achieve the goals of the project, while adhering to industry best practices/standards and Federal, State, and/or Local Codes.

Required Items:

| Item | Specifications | Notes |
| --- | --- | --- |
| Vehicle/Chassis/Body Equipment/Exterior | - Class 5 or 6 vehicle (as is suitable for this project; weight <26,000 pounds; does not require a commercial driver’s license (CDL) for operation) - Model year 2024 or newer - V8 gas engine - Automatic transmission - Daytime running lights - LED upper running/clearance lights per FMVSS 108 (9 amber & 7 red) - LED brake light – center high mount - Power steering - Power windows - Cruise control - Front and rear hydraulic breaks - Rearview mirrors - OEM front and rear mudflaps - Running boards - If slide outs are part of the design, they must be power operated. - Wheelchair lift, undercarriage, allowing exterior to interior access and reverse. An under-floor type wheelchair lift shall be furnished. The wheelchair lift shall stow under the clinic floor, leaving the doorway into the clinic clear. The enclosure shall protect the wheelchair lift from rain, snow and dirt. The wheelchair lift shall be constructed of steel and aluminum. Lifting capacity shall be at least 700 lbs. The wheelchair lift shall be hydraulic powered using a 12-volt direct current motor. A manual hydraulic pump back-up system shall be provided in case of electrical failure. The wheelchair lift shall comply with the Americans with Disability Act requirements. - Welded perimeter steel floor frame supported by welded cross members. - Welded steel cage & reinforced subfloor - Driver and passenger seating for a minimum of four (4) people, with seatbelts. - Enclosed entrance step - Stairs, entry, manual: Solid aluminum construction, with diamond plate stair treads with static coefficient of friction (COF) 0.70 wet and 0.80 dry. Tread surface to surpass ADA, NFPA, and OSHA requirements. Each step stand shall be capable of supporting 500 pounds without permanent deformation or breakage. - Stairs, high-traction tread covers: Step covers are fit over existing steps. - Ramps - Doors into clinic area shall have a minimum of one (1) window capable of being opened. - Video, rear-view system with in-cab monitor: High resolution rear vision system for wide field-of-view to facilitate backing and merging into traffic. On-screen distance grid to assist driver in judging distance. - Minimum of two (2) exterior GFCI outlets, one at front and one at back of vehicle. - Automatic heavy duty leveling system without requiring powering on/off of generator or battery. - Landing gear: stabilizing gear must be completely computer-controlled. - The total length of the van, including both front driver cabin and rear van body cabin, shall be nominally 32-37 feet, except for mirrors or other specified appurtenances to the length of the van. The width of the van shall not exceed 8½ feet, except for mirrors or other specified appurtenances on the side of the van. The overall height of the van is to be no more than 13 feet 2 inches. - Shelter for patients while waiting for services and/or post-vaccination or medication observation. Power awning capable of covering the area, and space sufficient for chairs to be placed under the cover. - Insulation, winterizing, underfloor: Insulation shall be installed in areas below the subfloor and below the floor of any expandable side rooms. - This project will include utilization of the BHCPC logo and color schemes, externally on the vehicle, where applicable, for identification of the Department. The contractor will be responsible for the wrap/application but may subcontract the work if needed. BHCPC requires final approval of all designs and colors utilized for the mobile health clinic. | No preference on whether the cab is separate from the rest of the vehicle; up to designer preference for best functionality of the unit. If the proposed unit does not have a separate cab, a separate clinic entrance is required. |
| Plumbing, HVAC, and Electrical (interior and exterior) | - All plumbing, HVAC, and electrical to be installed per Federal, State, and/or Local code and industry specifications/best practices. The specifications below may not include all necessary items for full functionality of the vehicle. It is the vendor’s responsibility to ensure full functionality of the vehicle upon delivery and acceptance by BHCPH. If specifications listed below conflict with code, then Federal, State, and/or Local code shall govern. - Adequate heating and cooling throughout for year-round utilization. - Adequate lighting and outlets for all spaces, adhering to Federal, State, and Local codes and industry best practices/standards. - Water tank system: one (1) freshwater tank, one (1) gray water holding tank and one (1) black water holding tank (capacity must be enough to meet FMC requirements) - Water level monitoring system: remote readings on digital instrument pad for water levels in all tanks, in 10 percent increments. - Sewer hose and carrier - Color-coded high-temp FXL wiring harness with weatherproof connections. - 30’ 110V shore power cord with inlet plug wired to switch - 110V electrical package to include sufficient interior and exterior panels, breakers, outlets, and auto-transfer switch. - Outlets shall be capable of handling the load for portable vaccine refrigerator/freezer and portable generator. - 110V gas-powered generator with remote start and hour meter. Optional: solar panel system in addition to, or in lieu of, gas-powered generator - Generator encloser and prep kit. Generator, compartment: Undercarriage compartment with generator mounted on high-capacity slides for easy pull-out maintenance or replacement. Sound isolation and rear and underside ventilation provided. Operation capable while in transit. Rear cabin sound levels less than 60db. - Exterior electric/power awning and outdoor lighting for evening events. - Need adequate, high-intensity lighting in exam room(s) and exterior lighting systems. |  |
| Interior | - Floors, walls, countertops, cabinetry, workstations, etc.: All casework must be able to pass Joint Commission standards for sanitation and workmanship. Provide healthcare casework which has been manufactured, fabricated, and installed to withstand the medical environment and maintain manufacturer's warranted performance without defects, damage, or failure. Department. Once the contract is awarded, BHCPH personnel are to select casework, and colors for cabinets, from items currently manufactured. Flooring shall be medical grade and easy to clean. Counter surfaces shall be constructed from solid-surface acrylic resin composite without wood shimming. Matte or satin finish 1/4 in. thick solid surface countertop surface, with 1-3/4 in. solid surface edging, must be Class 1 (A) fire-rated, hospital-grade. Must be DuPont Corian or equal or Stainless Steel. No countertop laminates acceptable. Space for documentation on a fold-down counter, solid surface, 300-pound capacity. - 80” minimum interior height - Modesty panel/privacy curtain behind driver and cab - Interior switch for dome light, plus main system shutoff switch - Lavatory/restroom: - Meets ADA regulations, including assist bar(s) - Lockable door (need key in case of emergency) - Vent fan - Medical grade sink with hot and cold running water - Medical grade flooring, cabinetry, countertops, etc. - Low-flow toilet - Mirror - Paper towel dispenser - Hand soap dispenser - Trash receptacle - Specimen passthrough window to lab - Phlebotomy chair outside of exam room(s). Provide vinyl-covered, upright blood chair with adjustable, quick release arms. Seat height-20"; outside arm width-32"; seat cushion dimensions 20"Wx16.5"D; weight capacity-400 lbs. - Patient exam rooms: - Minimum of one (1) room; two (2) preferred, with identical layout. Proposing vendors shall provide blueprints and pictures to give BHCPH an idea what size it will be, including a point of reference (e.g., person standing next to it so we can get an idea of size). - Glove dispenser, wall mount: Provide our choice of disposable exam glove dispensers. - Waste Cans: Trash, Step-On, 24qt, 16” x 11.33” x 12.625”; stainless, white, or matching color of decor, steel construction, heavy-duty foot pedal and linkage design, bag securing mechanism, self-closing lid. - At minimum, waste cans shall include one (1) red receptacle and one (1) white receptacle for biohazards and trash, respectively. Must be capable of being secured while in transit (e.g., mount securing mechanism on wall, or keep the receptacles in a cabinet). - Adjustable Height Power Exam Table with storage space and high intensity lights. Head of bed shall be capable of raising/lowering for both medical and dental services. - Area for a universal sharps container capable of being secured while in transit. - Sink - Desk to accommodate laptop computer and stool (if space; otherwise, in a central workstation area). Can be part of a wall-mounted system if space allows. - Stadiometer and scale up to 400 pounds. - Welch Allyn wall kit for vitals, ear, and eye examination, wallboard mounted if possible. - Exam light wall arm unit (optional) - At least one room shall be set up to accommodate dental services, to include the following: - A-dec Pac 1 3420 Self-Contained Unit; shall be able to fit at the head of the exam bed, if possible; no substitutions - Mounted overhead light that does not obstruct work at bedside (see picture) - Crown Seating Colorado Saddle Seat Style chair w/assistance body support and foot ring; upholstery color: black; no substitutions - Triage area to accommodate a small table with an outlet and space for a minimum of two (2) individuals. - Screening and registration area capable of allowing for privacy (e.g., privacy screen/sliding door that separates the exam area from screening and registration). - Stereo system for internal and external use, including a television/display for messaging and a system for radio/white noise for patient privacy. - Refrigerators and freezer: two (2) separate mini refrigerators and a mini freezer. One (1) refrigerator for blood or specimen samples; one (1) built-in refrigerator that is compliant with the specifications of the Vaccines for Children (VFC) program, will be utilized for storage of vaccines and medications. BHCPH will defer to vendor design (e.g., could be on the countertop or under counter) for ideal locations. - Common/shared area for vaccine/medication storage and/or preparation, documentation, lab analysis, etc. - Specimen passthrough window to lab. |  |
| Other Safety Items: | - Fire extinguisher(s) to comply with Federal, State, and/or Local codes/regulations. Minimum of one (1). Must be bolted to ensure safety during vehicle transit. - Emergency care, including a first aid kit and portable AED (optional) - Preference is for these items to be inside a cabinet and capable of being secured during vehicle transit. - Smoke detector, battery: Provide battery operated DC voltage smoke alarm(s) so that vehicle is protected if electricity fails, provided the batteries are fresh and correctly installed. Unit to emit an 85-decibel alarm for an early warning of fire. - Carbon monoxide tester/detector |  |
| Other | - Warranty/Services/Training/Ongoing Costs: onsite vehicle walk-through and training. Vendor shall be responsible for providing Department with training for functionality, maintenance, day-to-day serviceability, and operation, as well as a full set of operating manuals for every major component of the vehicle. - Freight and delivery: unit must be delivered to BHCPH location, FOB. |  |

Alternate Configurations:  Other vehicles that meet the needs specified above may be considered if there is information provided to justify suitability for the scope of work to be performed. If the vendor is proposing an alternate configuration, the exception form in Attachment E shall be utilized for proposal submission.

Network and Wi-Fi Connectivity/Capabilities: to be performed by BHC.

Optional Items:

The following items shall be included as optional, specifying each room’s costs separately when multiple spaces are listed:

- SOLAR POWER: solar panel system in addition to, or in lieu of, a gas-powered generator. Specifications must be such that the mobile health clinic can operate with the same functionality as provided by a gas-powered generator, and must meet federal, state, and local code and industry best practices/standards.

- Exam light wall arm unit

- Emergency care, including a first aid kit and portable AED.

Attachment B

GENERAL TERMS AND CONDITIONS

BLACK HAWK COUNTY PUBLIC HEALTH MOBILE HEALTH CLINIC

BLACK HAWK COUNTY, IA

1.	LANGUAGE, WORDS USED INTERCHANGEABLY - The word “COUNTY” refers to the BLACK HAWK COUNTY BOARD OF HEALTH, BLACK HAWK COUNTY PUBLIC HEALTH (“DEPARTMENT”, “BHCHD”), and the COUNTY OF BLACK HAWK, IOWA throughout these Instructions to proposing vendors and General Terms and Conditions. Similarly, vendor, proposing vendor, prospective vendor, firm, or bidder refers to the person or company submitting an offer to sell its goods or services to the COUNTY. The words QUOTATION, BID and PROPOSAL are all offers from a proposing vendor, but may represent different methods of obtaining price and other information from the proposing vendor. Vendors should not interpret the words “including”, “for example”, and “such as” as words of limitation.

2.	 PROPOSAL TABULATION AVAILABILITY – Proposals shall be evaluated promptly after opening. After award, a proposal tabulation summary shall be sent to all companies who submitted a proposal or returned a Statement of No Proposal. PROPOSAL RESULTS SHALL NOT BE GIVEN OVER THE TELEPHONE. No proposal may be withdrawn for a period of sixty (60) calendar days of the proposal opening date.

3.	PROPOSING VENDOR QUALIFICATIONS - No proposal shall be accepted from, and no contract shall be awarded to, any person, firm or corporation that is in arrears to the County upon debt or contract, that is a defaulter, as surety or otherwise, upon any obligation to the County, or that is deemed irresponsible or unreliable by the County. If requested, vendors shall be required to submit satisfactory evidence that they have a practical knowledge of the particular supply/service proposal and that they have the necessary financial resources to provide the proposed supply/service as described in the project specifications.

4.	PROPOSAL FORM - Each proposing vendor shall submit an original proposal on the forms attached plus any additional sheets provided by the proposing vendor that may be required for additional information. The proposing vendor shall sign his/her proposal correctly, and the proposal may be rejected if it shows any omissions, alterations of the form, additions not called for in the proposal, or any irregularities of any kind. The County shall not consider replies that are not on the County’s form. Proposing vendors may submit additional information and brochures relative to the services for which they are offering pricing, but those submittals shall only be considered in addition to, not in lieu of, any proposal submitted on the County’s form. In case of a discrepancy between the unit price and the extended price, the unit price shall prevail.

The proposal shall include separate, complete equipment lists indicating manufacturer, model, quantity, and unit/extended pricing.

The proposal shall also include a pricing summary of all other costs associated with the proposal, and a total base proposal amount, along with the costs of any optional items or alternates.

5.	SPECIFICATION DEVIATIONS BY THE PROSPECTIVE VENDOR - Any deviation from this specification shall be disclosed to and allowed, for proposal submission purposes, by Black Hawk County in advance of the proposal submission deadline, noted in detail, and submitted in writing and including in the Vendor Exceptions form (Attachment E). Completed specifications should be attached for any substitutions offered, or when amplifications are desirable or necessary. Product deviations or substitutions shall be comparable to, and meet or exceed, the product specified in the proposal documents. The absence of the specification deviation statement and accompanying specifications shall hold the proposing vendor strictly accountable to the specifications as written herein. Failure to submit this document of specification deviation, if applicable, shall be grounds for rejection of the item when offered for delivery. If specifications or descriptive papers are submitted with proposals, the proposing vendor’s name should be clearly shown on each document.

6.	PROPOSING REPRESENTATION - Each proposing vendor shall sign the proposal with his/her usual signature and shall give his/her full business address on the form provided in this RFP.

7.	COLLUSIVE BIDDING - The proposing vendor certifies that the proposal submitted by said proposing vendor is done so without any previous understanding, agreement or connection with any person, firm, or corporation making a proposal for the same contract, without prior knowledge of competitive prices, and it is, in all respects, fair, without outside control, collusion, fraud or otherwise illegal action.

8.	BROCHURES - Proposals may include adequate brochures and advertising literature describing the service offered in such a fashion as to permit ready comparison with our specifications where applicable.

9.	SPECIFICATION CHANGES, ADDITIONS AND DELETIONS - All changes in RFP documents shall be through written addendum and furnished to all prospective vendors who received an RFP packet. Verbal information obtained otherwise shall not be considered in awarding of proposals. It is the proposing vendor’s sole responsibility to ensure that any addenda issued have been reviewed.

10.	PROPOSAL CHANGES – Proposal amendments thereto or withdrawal requests received after the time advertised for proposal opening shall be void regardless of when they were mailed.

11.	HOLD HARMLESS AGREEMENT - The outside party shall indemnify and hold harmless Black Hawk County, its officers, agents, and employees, from and against all claims, damages, losses, and expenses including attorneys’ fees arising out of or resulting from the performance of the work, provided that any such claim, damage, loss or expense:

  - Is attributable to bodily injury, sickness, disease, or death, or to the damage to or destruction of tangible property (other than the work itself) including the loss of use resulting therefrom, and.

  - is caused in whole or in part by any negligent act or omission of the outside party or its subcontractor, anyone directly or indirectly employed by any of them or anyone for whose acts any of them may be liable, regardless of whether it is caused in part by a party indemnified hereunder.

  - Each contract/agreement shall contain the following language (when applicable):  contractor/permitee/licensee agrees that for all work done in the county road right of ways, easements and county property, it shall be solely responsible for work zone safety and shall hold the County harmless and agree to indemnify the County for all claims that arise from its work in the right of way, and further, it agrees that it will adhere to the Manual on Uniform Traffic Control Devices during the project.

12.	COMPLETION DATE - The completion as stated in the Form of Proposal shall be the time required to complete project after the award of the contract. Where multiple items appear on a proposal request, the proposing vendor shall, unless otherwise stated by the County, show the completion date for each item separately. If only a single completion date is shown, it shall mean that all tasks of the project included in the proposal can and shall be delivered on or before the specified date. The proposing vendor agrees that the project shall be completed in the time stated, assuming that the time between the proposal opening and the Notice to Proceed does not exceed the number of days so stipulated. The right is reserved to reject any proposal in which the completion time indicated is considered sufficient to delay the operational needs for which the service is intended.

13.	PROPOSAL REJECTION OR PARTIAL ACCEPTANCE - The County reserves the right to reject any or all proposals. The County further reserves the right to waive technicalities and formalities in proposals, as well as to accept in whole or in part such proposals where it is deemed advisable in protection of the best interests of the County.

14.	PROPOSAL CURRENCY/LANGUAGE - All prices in the proposal shall be shown in US Dollars ($). All prices shall remain firm for the duration of the contract regardless of the exchange rate. All proposal responses shall be submitted in English.

15.	PAYMENTS - Payments shall be made for all goods/services delivered, inspected and accepted within 30 days and upon receipt of an original invoice. Retainage of 5% of the total contract amount until and upon approval of the project by Black Hawk County and/or their contracted vendor.  If the vendor is not currently listed as a vendor with Black Hawk County, the vendor shall be required to become an approved vendor prior to remittance of payment.

16.	MODIFICATION, ADDENDA AND INTERPRETATIONS - Any apparent inconsistencies, or any matter requiring explanation or interpretation, shall be inquired into by the proposing vendor in writing at least 72 hours (excluding weekends and holidays) prior to the time set for the proposal opening. Any and all such interpretations or modifications shall be in the form of written addenda. All addenda shall become part of the contract documents and shall be acknowledged and dated on the Signature Page or Form of Proposal.

17.	LAWS AND REGULATIONS - All applicable State of Iowa and federal laws, ordinances, licenses and regulations of a governmental body having jurisdiction shall apply to the award throughout as the case may be, and are incorporated here by reference. The Iowa District Court shall have jurisdiction over any disputes that arise under any contract entered into pursuant to this RFP.

18.	TELEGRAPHIC/ELECTRONIC PROPOSAL SUBMITTAL - Telegraphic and/or proposal offers sent by electronic devices (e.g. facsimile machines) are not acceptable and shall be rejected upon receipt. Proposing firms shall be expected to allow adequate time for delivery of their proposal either by airfreight, postal service, or other means.

19.	MISCELLANEOUS - The County reserves the right to reject any and all proposals or parts thereof. The County reserves the right to inspect vendor’s facilities prior to the award of this proposal. The County reserves the right to negotiate optional items with the successful vendor.

20.	MODIFICATION OF AGREEMENT - No modification of award shall be binding unless made in writing and signed by the County.

21.	CANCELLATION - Either party may cancel the award in the event that a petition, either voluntary or involuntary, is filed to declare the other party bankrupt or insolvent or in the event that such party makes an assignment for the benefit of creditors.

22.	TERMINATION OF AWARD FOR CAUSE - If, through any cause, the successful vendor shall fail to fulfill in a timely and proper manner its obligations or if the successful vendor shall violate any of the covenants, agreements or stipulations of the award, the County shall thereupon have the right to terminate the award by giving written notice to the successful vendor of such termination and specifying the effective date of termination. In that event, and as of the time that notice is given by the County, all finished or unfinished services, reports or other materials prepared by the successful vendor shall, at the option of the County, become its property, and the successful vendor shall be entitled to receive compensation for any satisfactory work completed, prepared documents or materials as furnished. Notwithstanding the above, the successful vendor shall not be relieved of liability to the County for damage sustained by the County by virtue of breach of the award by the successful vendor. The County may withhold any payments to the successful vendor for the purpose of set-off until such time as the exact amount of damages due the County from the successful vendor is determined.

23.	TERMINATION OF AWARD FOR CONVENIENCE - The County may terminate the award at any time by giving written notice to the successful vendor of such termination and specifying the effective date thereof, at least sixty (60) working days before the effective date of such termination. In that event, all finished or unfinished services, reports, materials(s) prepared or furnished by the successful vendor or under the award shall, at the option of the County, become its property. If the award is terminated due to the fault of the successful vendor, termination of award for cause relative to termination shall apply. If the award is terminated by the County as provided herein, the successful vendor shall be paid an amount as of the time notice is given by the County which bears the same ratio to the total compensation as the services actually performed bear to the total services the successful vendor covered by the award, less payments of compensation previously made.

24.	FORCE MAJEURE - For the purpose hereof, force majeure shall be any of the following events: acts of God or the public enemy; compliance with any order, rule, regulation, decree, or request of any governmental authority or agency or person purporting to act therefore; acts of war, public disorder, rebellion, terrorism, or sabotage; floods, hurricanes, or other storms; strikes or labor disputes; or any other cause whether or not of the class or kind specifically named or referred to herein not within the reasonable control of the party affected.

A delay in or failure of performance of either party shall not constitute a default hereunder nor be the basis for, or give rise to, any claim for damages, if and to the extent such delay or failure is caused by force majeure.

The party who is prevented from performing by force majeure (i) shall be obligated, within a period not to exceed fourteen (14) days after the occurrence or detection of any such event to give notice to the other party setting forth in reasonable detail the nature thereof and the anticipated extent of the delay, and (ii) shall remedy such cause as soon as reasonably possible.

25.	ASSIGNMENT - Vendor shall not assign this order or any monies to become due hereunder without the prior written consent of the County. Any assignment or attempt at assignment made without such consent of the County shall be void.

26.	EQUAL OPPORTUNITY - The successful firm agrees not to refuse to hire, discharge, promote, demote, or to otherwise discriminate in matters of compensation against any person otherwise qualified solely because of race, creed, sex, national origin, ancestry or physical handicap. Firms submitting proposals shall be an “Equal Opportunity Employer” as defined in the “Civil Rights Act of 1964” and in “Iowa Executive Order Number Thirty-Four.”

27.	TITLE VI – Black Hawk County, in accordance with the provisions of Title VI of the Civil Rights Act of 1964 (78 Stat. 252. 42 U.S.C. §§ 2000d to 2000d-4) and the Regulations, hereby notifies all proposing vendors that it will affirmatively ensure that any contract entered into pursuant to this advertisement, disadvantaged business enterprises will be afforded full and fair opportunity to submit proposals in response to this invitation and will not be discriminated against on the grounds of race, color, or national origin in consideration for an award.

28.	TIME PERIOD - Prices are to be honored for the time period stated in your response on the Form of Proposal.

29.	EXTENSION - Any or all of the awards made as a result of this Request for Proposal may be extended for an additional period of time, up to one year, if mutually agreed between the parties.

30.	FOB POINT - In terms of loss or damage, as well as where title to the goods is passed, please quote FOB - Destination.

31.	METHOD OF AWARDING/QUOTING - The County reserves the right to make awards based on the entire proposal or on an individual portion or task basis. However, if a proposing vendor offers the proposal based on an “all or none” condition, the County may consider the proposal non-responsive and reject the entire proposal.

32.	TAXES - The County of Black Hawk is exempt from sales tax and certain other use taxes. Any charges for taxes from which the County is exempt shall be deducted from invoices before payment is made.

33.	PROPOSAL INFORMATION IS PUBLIC – All documents submitted with any proposal shall become public documents and subject to Iowa Code Chapter 22, which is otherwise known as the “Iowa Open Records Law”. By submitting any document to the County of Black Hawk in connection with a bid or proposal, the submitting party recognized this and waives any claim against the County of Black Hawk and any of its officers and employees relating to the release of any document or information submitted. Each submitting party shall hold the County of Black Hawk and its officers and employees harmless from any claims arising from the release of any document or information made available to the County of Black Hawk arising from any proposal opportunity.

34.	PURCHASE ORDER – Purchase Orders shall not be issued from the County of Black Hawk

35.	NO GIFT STANDARD - The County of Black Hawk is committed to upholding the highest ethical standards in all of our business practices. This standard recognizes the need to avoid even the perception of improper gifts or favors to employees. Therefore, we ask all vendors to abide by our “No Gift” standard. The “No Gift” standard also applies to all offers of discounts or free items at any place of business targeted toward a County employee and not available to the general public, regardless of the value.

36. 	ACCURACY OF PROPOSAL – It is the proposing vendor’s responsibility to determine the proposal price based on the vendor’s own evaluation of the space to be covered and the work to be done. Accuracy is the proposing vendor’s responsibility.

Attachment C

MINIMUM INSURANCE REQUIREMENTS

BLACK HAWK COUNTY PUBLIC HEALTH MOBILE HEALTH CLINIC

BLACK HAWK COUNTY, IA

- At all times during the contract/agreement the outside party shall carry and maintain, at the outside party’s expense, the following insurance:

  - Commercial General Liability Insurance Policy, including but not limited to, insurance for premises construction operations (when applicable), contractual liability, completed operations with respect to liability arising out of the ownership, use, occupancy, or maintenance of the premises and all areas appurtenant, thereto, to afford protection with respect to bodily injury, personal injury, death or property damage of not less than One Million Dollars ($1,000,000) per occurrence combined single limit/Two Million Dollars ($2,000,000) general aggregate.

  - Umbrella Liability Policy – The County requires liability limits of One Million Dollars ($1,000,000) as determined through collaboration with the County Attorney and the Risk Assessment Manager.

  - Automobile Liability Insurance Policy with limits for each occurrence of not less than One Million Dollars ($1,000,000) Combined Single Limit with respect to bodily injury, property damage or death.

  - Workers Compensation Insurance Policy or similar insurance in form and amounts required by law.

- Should the proposal require professional service elements (e.g. architectural, engineering, technology, software, health care, legal or professional system designs), the outside party may be required to carry professional errors and omissions coverage with a limit for each claim of not less than One Million Dollars ($1,000,000).

- Coverage shall be maintained by a financially stable carrier with a minimum AM Best rating of A-.  It shall be the outside party’s responsibility to provide proof of its carrier’s rating.

- The outside party shall agree to the following:

  - Black Hawk County shall be named as an additional insured, on a primary and non-contributory basis, with respect to all general and automobile insurance policies and each such carrier shall provide a waiver or subrogation in favor of Black Hawk County.

  - Should the project require electronic communications, storage, records, or record-keeping (including, but not limited to, email, web-based interface usage, electronically stored records or designs, or other electronic or online communications), Black Hawk County shall require a Cyber Liability Insurance Policy with limits not less than One Million Dollars ($1,000,000) per occurrence and Black Hawk County shall be listed as additional insured.

  - Should the project require removal, cleanup, installation, or other disturbance of hazardous substances, Black Hawk County shall require an Environmental/Pollution Insurance Policy with limits not less than One Million Dollars ($1,000,000) per occurrence and Black Hawk County shall be listed as additional insured.

  - Certificate of insurance shall be submitted to the Board of Supervisors’ Office prior to commencement of the contract/agreement and shall include the thirty-day notice of cancellation provision.  If the outside party fails to perform any of its obligations under the County’s Insurance and Policy Requirements, Black Hawk County reserves the right to either purchase the required insurance coverage and assess the cost directly to the outside party, or to declare the outside party’s proposal invalid.

Attachment D

FORM OF PROPOSAL

BLACK HAWK COUNTY PUBLIC HEALTH MOBILE HEALTH CLINIC

BLACK HAWK COUNTY, IA

The proposing vendor, having fully read this document, hereby acknowledges that this proposal completely reflects the total proposal price contained herein.  The proposing vendor also acknowledges that the Black Hawk County Board of Health may prioritize or eliminate features or options based on need, options selected, and total project cost.

It is the proposing vendor’s responsibility to meet the requirements contained herein and to determine the proposal price based on the proposing vendor’s own evaluation of the work to be done. It is the proposing vendor’s responsibility to provide estimated start and completion dates based on the proposing vendor’s own evaluation of the availability of materials/components, and timeline needed to complete work.

Firms submitting proposals shall be an “Equal Opportunity Employer” as defined in the “Civil Rights Act of 1964” and in “Iowa Executive Order Number Thirty-Four.”

Please designate a representative as the exclusive “contact” person for your company.

| (Print) |  | Phone |
| --- | --- | --- |

Estimated time of completion after signing of the contract is       working days.

* Be sure to include your completed Bidder Status Form with your proposal submittal.

TOTAL PROPOSAL without optional items:

SAM.gov Unique Entity ID Number (required):

Optional Items:

| Item | Cost | Notes |
| --- | --- | --- |
| Solar Panel System |  |  |
| Exam Light Wall Arm Unit |  |  |
| Emergency Care (including first aid kit and portable AED) |  |  |

Security in the sum of       Dollars ($     ) in the form of      , is submitted herewith in accordance with the INSTRUCTIONS TO PROPOSING VENDORS.

| Company |  | City, State |
| --- | --- | --- |
| By: (Authorized Signature) |  | IRS No. |
| By: (Printed Name) |  | Date |

Attachment E

VENDOR EXCEPTIONS

BLACK HAWK COUNTY PUBLIC HEALTH MOBILE HEALTH CLINIC

BLACK HAWK COUNTY, IA

Check the box below if there are no exceptions taken to any of the terms, conditions, or specifications of these request for proposal documents.

No Exceptions

If there are exceptions taken to any of the terms, conditions, or specifications of these request for proposal documents, they shall be clearly stated on the table below and returned with your proposal.

Vendor Exceptions to:

MOBILE HEALTH CLINIC

BLACK HAWK COUNTY, IA

| RFP Section | Page # |
| --- | --- |

Add any additional line items for exceptions as necessary and reference any explanatory attachments within the line item to which it refers.

Exception:

Describe the nature of the exception:

Explanation of why exception is taken:

Proposed alternative to meet the Black Hawk County Public Health’s needs (include applicable documents, blueprints, brochures, pricing tables, etc., as appropriate):

Attachment F

ADDENDUM RECEIPT FORM

BLACK HAWK COUNTY PUBLIC HEALTH MOBILE HEALTH CLINIC

BLACK HAWK COUNTY, IA

| VENDOR’S NAME: |  |  | CONTACT NAME: |  |
| --- | --- | --- | --- | --- |
| ADDRESS: |  |  |  |  |
| PHONE NUMBER: |  |  | FAX NUMBER: |  |

PROPOSAL: MOBILE HEALTH CLINIC – BLACK HAWK COUNTY, IA.

THE PROPOSING VENDOR ACKNOWLEDGES RECEIPT OF ADDENDUM #       BY SIGNING AND DATING BELOW:

This addendum receipt record shall be included with the proposal submission.

| Addendum: |  |
| --- | --- |
| Submitted by (print name): |  |
| Authorized Signature: |  |
| Date: |  |
| Company: |  |
| Title: |  |

Attachment G

CERTIFICATION REGARDING LOBBYING

BLACK HAWK COUNTY PUBLIC HEALTH MOBILE HEALTH CLINIC

BLACK HAWK COUNTY, IA

The undersigned certifies, to the best of his or her knowledge and belief, that:

- No Federal appropriated funds have been paid or will be paid, by or on behalf of the undersigned, to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress in connection with the awarding of any Federal grant, the making of any Federal loan, the entering into of any cooperative agreement, and the extension, continuation, renewal, amendment or modification of any Federal contract, grant, loan, or cooperative agreement.

- If any funds other than Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress in connection with this Federal contract, grant, loan, or cooperative agreement, the undersigned shall complete and submit Standard Form-LLL, "Disclosure of Lobbying Activities," in accordance with its instructions.

- The undersigned shall require that the language of this certification be included in the award documents of all sub-awards at all tiers (including subcontracts, sub-grants, and contracts under grants, loans, and cooperative agreements) and that all sub-recipients shall certify and disclose accordingly.

This certification is a material representation of fact upon which reliance was placed when this transaction was made or entered into. Submission of this certification is a prerequisite for making or entering into this transaction imposed by section 1352, title 31, United States Code. Any person who fails to file the required certification shall be subject to a civil penalty of not less than $10,000 and not more than $100,000 for each such failure.

| Organization: |  |  |  |
| --- | --- | --- | --- |
| Street Address: |  |  |  |
| City, State, Zip: |  |  |  |
| Certified By (print): |  |  |  |
| Title: |  |  |  |
|  | Authorized Signature |  | Date |

Disclosure of Lobbying Activities

Complete OMB FORM 0348-0046 to disclose lobbying activities pursuant to 31 U.S.C. 1352

INSTRUCTIONS FOR COMPLETION OF SF-LLL, DISCLOSURE OF LOBBYING ACTIVITIES

This disclosure form shall be completed by the reporting entity, whether subawardee or prime Federal recipient, at the initiation or receipt of a covered Federal action, or a material change to a previous filing, pursuant to title 31 U.S.C. section 1352. The filing of a form is required for each payment or agreement to make payment to any lobbying entity for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress, or an employee of a Member of Congress in connection with a covered Federal action. Complete all items that apply for both the initial filing and material change report. Refer to the implementing guidance published by the Office of Management and Budget for additional information.

1. Identify the type of covered Federal action for which lobbying activity is and/or has been secured to influence the outcome of a covered Federal action.

2. Identify the status of the covered Federal action.

3. Identify the appropriate classification of this report. If this is a followup report caused by a material change to the information previously reported, enter the year and quarter in which the change occurred. Enter the date of the last previously submitted report by this reporting entity for this covered Federal action.

4. Enter the full name, address, city, State and zip code of the reporting entity. Include Congressional District, if known. Check the appropriate classification of the reporting entity that designates if it is, or expects to be, a prime or subaward recipient. Identify the tier of the subawardee, e.g., the first subawardee of the prime is the 1st tier. Subawards include but are not limited to subcontracts, subgrants and contract awards under grants.

5. If the organization filing the report in item 4 checks “Subawardee,” then enter the full name, address, city, State and zip code of the prime Federal recipient. Include Congressional District, if known.

6. Enter the name of the federal agency making the award or loan commitment. Include at least one organizational level below agency name, if known. For example, Department of Transportation, United States Coast Guard.

7. Enter the Federal program name or description for the covered Federal action (item 1). If known, enter the full Catalog of Federal Domestic Assistance (CFDA) number for grants, cooperative agreements, loans, and loan commitments.

8. Enter the most appropriate Federal identifying number available for the Federal action identified in item 1 (e.g., Request for Proposal (RFP) number; Invitations for Bid (IFB) number; grant announcement number; the contract, grant, or loan award number; the application/proposal control number assigned by the Federal agency). Included prefixes, e.g., “RFP-DE-90-001.”

9. For a covered Federal action where there has been an award or loan commitment by the Federal agency, enter the Federal amount of the award/loan commitment for the prime entity identified in item 4 or 5.

10. (a) Enter the full name, address, city, State and zip code of the lobbying registrant under the Lobbying Disclosure Act of 1995 engaged by the reporting entity identified in item 4 to influence the covered Federal action.

(b) Enter the full names of the individual(s) performing services, and include full address if different from 10(a). Enter Last Name, First Name, and Middle Initial (MI).

Attachment H

SMALL AND MINORITY BUSINESSES, WOMEN'S BUSINESS ENTERPRISES, AND LABOR SURPLUS AREA FIRMS

BLACK HAWK COUNTY PUBLIC HEALTH MOBILE HEALTH CLINIC

BLACK HAWK COUNTY, IA

PRE-PROPOSAL CONTACT INFORMATION

| Proposing Vendor Name: |  |
| --- | --- |
| Project Name: | BLACK HAWK COUNTY PUBLIC HEALTH MOBILE HEALTH CLINIC |

(To be completed by ALL proposing vendors and submitted with proposal documents)

In order for a proposal to be considered responsive, proposing vendors are required to provide information showing that small and minority businesses, women’s business enterprises, and labor surplus area firm contacts were made if subcontractors will be used on the project.

NOTE: Every effort shall be made to solicit quotes or proposals from small and minority businesses, women’s business enterprises, and labor surplus area firms on as many subcontract items as possible. If small and minority businesses, women’s business enterprises, or labor surplus area firm quotes are used in the submitted proposal, it is assumed that the firm listed will be used as a subcontractor.

| Subcontractor | Small, Minority, Women’s, or Labor Surplus? | Date Contacted | Quote Received |  | Quote Used in Proposal |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Yes/No | Date Received | Yes/No | Dollar Amount |
| Total dollar amount proposed to be subcontracted to small and minority businesses, women’s business enterprises, or labor surplus area firms |  |  |  |  |  | $ |

Make copies of this sheet if more space is needed.